## Sheet1
Batch 1 - Test Batch
2017-03-10 | [5 empty] | 2017-03-11 |  |  | 2017-03-13
# | ID | Mass of sample (g) | Mass of o-anisic acid (g) | + Mass of 2M NaOH (g) | Reaction start time | Reaction stop time | + Mass of 72% H2SO4 | Area of pHBA (mAU) | Area of o-anisic acid (mAU) | Correction Factor | Normalised Area of pHBA (mAU) | Mass Normalised | mg pHBA / g sample | AVG | STDEV |  | full curve | bottom half | top half
1 | Nisqually-1 | 0.0154 | 0.0966 | 1.1744 | 17:08 | 17:09 | 0.1584 | 77.05 | 48.238 | 0.88371 | 68.09 | 4421.4255 | 1.9292 | 1.9016 | 0.074433 | 1.9537 | 1.9073 | 2.0052 | 1.896
2 | Nisqually-1 | 0.0151 | 0.0938 | 1.1747 | 17:10 | 17:10 | 0.1576 | 70.095 | 42.368 | 0.97733 | 68.5058 | 4536.8077 | 1.9782
3 | Nisqually-1 | 0.0248 | 0.0981 | 1.1832 | 17:12 | 17:11 | 0.1567 | 98.793 | 41.035 | 1.0486 | 103.5953 | 4177.2301 | 1.8017 |  |  | 1.8496
4 | Nisqually-1 | 0.0259 | 0.0985 | 1.1892 | 17:14 | 17:12 | 0.1552 | 105.956 | 40.056 | 1.0744 | 113.8429 | 4395.479 | 1.8974
5 | 124 | 0.0153 | 0.0988 | 1.1883 | 17:15 | 17:14 | 0.1564 | 42.922 | 43.481 | 0.99288 | 42.6164 | 2785.3858 | 1.2647 | 1.2595 | 0.042836
6 | 124 | 0.0149 | 0.0984 | 1.1849 | 17:15 | 17:15 | 0.156 | 43.621 | 44.418 | 0.97076 | 42.3456 | 2841.9857 | 1.2873
7 | 124 | 0.0253 | 0.0987 | 1.1858 | 17:16 | 17:16 | 0.1574 | 69.879 | 40.555 | 1.065 | 74.4177 | 2941.4128 | 1.2887
8 | 124 | 0.0262 | 0.0972 | 1.1858 | 17:17 | 17:17 | 0.1588 | 67.809 | 40.355 | 1.0533 | 71.4239 | 2726.1049 | 1.1974
9 | 37 | 0.0151 | 0.0998 | 1.1829 | 17:18 | 17:18 | 0.1552 | 37.679 | 44.319 | 0.98862 | 37.2501 | 2466.8921 | 1.1274 | 1.1469 | 0.03337
10 | 37 | 0.0157 | 0.0991 | 1.1908 | 17:19 | 17:19 | 0.158 | 39.848 | 44.461 | 0.97127 | 38.703 | 2465.162 | 1.1313
11 | 37 | 0.0256 | 0.0989 | 1.1887 | 17:20 | 17:20 | 0.1543 | 62.984 | 41.459 | 1.0431 | 65.7014 | 2566.462 | 1.1321
12 | 37 | 0.0243 | 0.0989 | 1.1904 | 17:21 | 17:21 | 0.1544 | 65.851 | 43.189 | 1 | 65.851 | 2709.9177 | 1.1969
[9 empty] | Average o-anisic acid Area: | 42.8278
| Serial dilution to generate a calibration curve: stock -> S1 -> S2 -> S3 -> S4 -> S5 -> S6 -> S7 -> S8: | [7 empty] | Max pHBA Area: | 113.8429
[9 empty] | Min pHBA Area: | 37.2501
|  | p-hydroxybenzoic acid stock: |  |  | Calibration curve:
|  | pHBA (mg) | 51.6 |  | slope | 2877.0373
|  | dH2O (mL) | 51.6069 |  | y-intercept | -3.6457 |  |  | Densities from literature or assumption:
|  | concentration (mg/mL) | 0.99987 |  | r-squared | 0.99925 |  |  | Density of water (g/mL) | 1
[9 empty] | Density of standards (g/mL) | 1
|  | Standards | Mass of stock/standard (g) | + Mass of water (g) | Concentration of pHBA( mg/mL) | Area of pHBA (mAU) |  |  | Density of o-anisic acid (g/mL) | 1
|  | S1 | 0.7591 | 1.5082 | 0.50325 |  |  |  | Density of 2 M NaOH (g/mL) | 1.08
|  | S2 | 0.7554 | 1.5002 | 0.2534 |  |  |  | Density of 72% H2SO4 (g/mL) | 1.6338
|  | S3 | 0.7579 | 1.5106 | 0.12714 | 364.4844 |  |  | Density of pHBA (g/mL0 | 1
|  | S4 | 0.7579 | 1.5066 | 0.063957 | 181.0845 | <- Three-point calibration curve
|  | S5 | 0.7586 | 1.5105 | 0.03212 | 86.5941 | <- Three-point calibration curve
|  | S6 | 0.7592 | 1.5068 | 0.016184 | 44.3625 | <- Three-point calibration curve
|  | S7 | 0.7545 | 1.5107 | 0.0080828 | 21.8754
|  | S8 | 0.7628 | 1.5218 | 0.0040515 | 10.4724
| New calibration curve: |  | stock concentration (mg/mL): | 0.99987
|  | Standards | Mass of stock/standard (g) | + Mass of water (g) | Concentration of pHBA( mg/mL) | Area of pHBA (mAU)
|  | S1 | 2.4083 | 10.0333 | 0.24 | 1600.385
|  | S2 | 9.1845 | 10.0195 | 0.22 | 1307.373
|  | S3 | 9.104 | 10.0145 | 0.2 | 1167.476
|  | S4 | 9.0017 | 10.022 | 0.17964 | 1061.959
|  | S5 | 8.9129 | 10.0556 | 0.15922 | 944.73
|  | S6 | 8.7995 | 10.0066 | 0.14002 | 791.108
|  | S7 | 8.5764 | 10.0532 | 0.11945 | 681.772
|  | S8 | 8.3726 | 10.0022 | 0.099987 | 558.668
|  | S9 | 8.0016 | 10.0195 | 0.07985 | 466.286
|  | S10 | 7.5153 | 10.019 | 0.059896 | 330.761
|  | S11 | 6.5757 | 10.0015 | 0.03938 | 217.876
|  | S12 | 5.0504 | 9.9916 | 0.019905 | 110.071
Calibration curve:
[5 empty] | slope | 6341.6274
[5 empty] | y-intercept | -53.1324
[5 empty] | r-squared | 0.98866
| New calibration curve: |  | stock concentration (mg/mL): | 0.99987
|  | Standards | Mass of stock/standard (g) | + Mass of water (g) | Concentration of pHBA( mg/mL) | Area of pHBA (mAU)
|  | S1 | 1.0089 | 2.0052 | 0.50307 | saturated
|  | S2 | 1.008 | 2.0073 | 0.25263 | 701.7179
|  | S3 | 1.0098 | 2.0087 | 0.127 | 355.561
|  | S4 | 1.0078 | 2.0073 | 0.063762 | 181.3092
|  | S5 | 1.0087 | 2.008 | 0.03203 | 88.1591
|  | S6 | 1.0102 | 2.0106 | 0.016093 | 41.3006
|  | S7 | 1.0106 | 2.0104 | 0.0080898 | 21.1456
|  | S8 | 1.0086 | 2.0106 | 0.0040582 | 10.0557
|  | S9 | 1.0065 | 2.0078 | 0.0020344 | 5.1387
|  | S10 | 1.0083 | 2.0101 | 0.0010205 | 2.4521
Calibration curve:
[5 empty] | slope | 2787.5621
[5 empty] | y-intercept | -0.62891
[5 empty] | r-squared | 0.99992
Calibration curve:
[5 empty] | slope | 2640.1893
[5 empty] | y-intercept | -0.33658 | bottom
[5 empty] | r-squared | 0.99932
Calibration curve:
[5 empty] | slope | 2784.9418
[5 empty] | y-intercept | -0.1571 | top
[5 empty] | r-squared | 0.99988
Calibration curve:
[5 empty] | slope | 2818.1317
[5 empty] | y-intercept | -1.3663 | excluding s2
[5 empty] | r-squared | 0.99982
Calibration curve:
[5 empty] | slope | 2824.3898
[5 empty] | y-intercept | -1.9139 | just those in red
[5 empty] | r-squared | 0.99981